For

The Supply/Purchase of Glassware, Lab Equipments, Chemicals, Furniture and Fixture for

Departments of Pharmacy and Forestry

SHAHEED BENAZIR BHUTTO UNIVERSITY,

SHERINGAL

SHAHEED BENAZIR BHUTTO UNIVERSITY Sheringal, Dir Upper, Khyber Pakhtoonkhwa Advertisement No. SBBU/Adv./Td/14-48 TENDER NOTICEz Sealed Tenders are invited from the well established/reputed Firms/Companies/Suppliers, registered with income tax/sales tax Departments for the supply of the Glassware, Lab Equipments, Chemicals ,Furniture and Fixture ; TERMS & CONDITIONS: The detailed BOQ/Specifications along with the terms and conditions have been set forth in the tender documents. Tender documents can be obtained from the office of the Assistant Director (Procurement) w.e.f. 05-11-2014 till 25-11-2014 during office hours, on payment of non-refundable fee of Rs. 3000/- per tender. The documents may also be downloaded from the web site of the university www.sbbu.edu.pk OR PPRA Web Site. In case of downloading the documents, the fee can be sent through bank draft from any HBL branch, in favor of the Treasurer, Shaheed BB University, Sheringal. Tenders shall be opened on 26.11.2014 at 11.00 A.M, in the presence (not obligatory) of the contractors or their authorized agents in the office of the Convener, Purchase Committee of the University. Only the manufacturers/firms/companies or its authorized distributors will be eligible to apply. The single-stage –two envelopes procedure as per PPRA Rules, Govt. of Pakistan will be adopted. The interested parties should submit the bid(s) in a single package containing two separate envelopes marked as Technical Proposal and Financial Proposal. The financial proposals of the technically qualified bidders will be opened/evaluated after Two week on 10.12.2014. The quotations must be accompanied with a call deposit of 2% of the quoted amount. The suppliers/firms/manufacturers will not be allowed to sublet the work/contract/supply to another supplier/firm/manufacturer. The University shall upon request, communicate the bidder the grounds of rejection, but it is not required to Justify those grounds. Errors and omissions, if any, shall subject to rectification by the University. Convener Purchase Committee Shaheed Benazir Bhutto University, Sheringal, Dir Upper Ph. No. 0944-885403, 0944-885405, Fax. 885805

The Supply of Chemicals, Glassware, Lab Equipments and Furniture for

Departments of Pharmacy and Forestry

The technical proposals will be opened on 26-11-2014 at 11:00 A.M. sharp in the Committee Room in the presence of the Purchase Committee under the chairmanship of the Convener, Purchase Committee, Shaheed Benazir Bhutto University, Sheringal, Dir Upper.

Name of the Company / Dealer:

__________________________________________________________________

Address of the Correspondent:

__________________________________________________________________

__________________________________________________________________

Date:____________________

Signature and Seal

Telephone No: _____________________			Fax No:________________

E mail: ____________________________

Rs. 3000/- only

Note:

- Tenderers should read these conditions carefully and comply strictly while sending their tenders.

- If any discrepancy, error, or omission found in the tender documents; please contact Assistant Director Procurement on or before the closing date for Tenders.

- Purchase Committee shall upon request, communicate the bidder the grounds of rejection, but it is not required to justify those grounds. The decision of the Purchase Committee shall be final.

- General

  - All Quotations should reach the undersigned within due date as specified in the advertisement only through registered post/Courier.

  - The soft copy of quotations on a CD must be provided along with Hard copy.

  - Any cutting/ correction in bid will make quotation invalid.

  - In case of quoting alternate prices, separate tender shall be purchased.

  - Tenders forms shall be filled in ink or typed. No tender filled in pencil shall be considered.

  - The bidder shall sign and stamp each page of the Technical and Financial Proposal.

  - Rates shall be written both in words and figures. There should not be errors and / or over-writings. Corrections if any should be made clearly and initiated with dates.

  - Quotations must be valid till 30.06.2015.

  - Only Manufacturers / distributors / bona fide dealers of the goods shall give tenders. They shall, therefore, furnish necessary declaration along with documentary proofs for the same.

  - Any bidder, interested in bidding for one or more items separately, is allowed to do so. However, preference will be given to bidder offering several items together.

  - The single-stage –two envelopes procedure as per PPRA Rules, Govt. of Pakistan will be adopted. The interested parties should submit the bid(s) in a single package containing two separate envelopes marked as Technical Proposal and Financial Proposal.

  - In evaluating the technical Proposals, the university will take into consideration the following factors: e.g.

    - Relevant experience and past performance.

    - Capabilities with respect to personnel, equipments and plants.

    - Financial position (Bank statements and audited financial statements).

    - Appropriate managerial capabilities and

    - Bids should be according to the specifications provided by the university in tender documents. The evaluation will be based on compliance to the given specification, model, makes and expiry.  Shaheed Benazir Bhutto University reserves the right to choose according to its own given specifications.

  - The university shall promptly notify each bidder whether or not he has been technically qualified and shall make available to any person directly involved in the technical qualification process, upon request, the names of all suppliers or contractors who have been technically qualified. Only suppliers or contractors who have been technically qualified shall be entitled to participate further in the procurement proceedings.

  - The university shall communicate to those suppliers or contractors who have not been technically qualified the reasons for not qualifying them.

  - Supply order/ contract award will be issued to the successful bidders.

  - The contractor shall notify forth in written form to the purchase committee with any change in the constitution of the firm, etc. and such change shall not relieve any former member of the firm, etc., from any liability under the contract.

  - The contractor, in respect of the contract, shall accept no new partner/ partners in the firm unless he / they agree to abide by all its terms, conditions and deposits with the purchase committee a written agreement to this affect. The contractor’s receipt for acknowledgement or that of any partners subsequently accepted as above shall bind all of them.

  - The contractor shall not assign or sub-let his contract or any substantial part thereof to any other agency.

  - The purchase committee reserves the right to accept any tender not necessarily the lowest, reject any tender without assigning any reasons and accept tender for all or anyone  or more of the articles for which tender has been given or distribute items of stores to more than one firm/ supplier.

  - The tender shall remove the rejected articles within 15 days of intimation of rejection, after which purchase committee shall not be responsible for any loss, shortage or damage and shall have the right to dispose of such articles as it thinks fit, at the tenderer.s risk and on his account.

- Scope of supply

  - The firm will enter into a contract with Shaheed Benazir Bhutto University, regarding the repairs and maintenance of the Item / equipment(s) supplied and will be responsible for the arrangements of spare parts whenever needed.

  - Although, specifications and accessories have been provided, yet the University will not accept any excuse for any missing part / item needed for its full working condition.

  - The tenderer, whose tender is accepted, shall arrange to supply as per schedule to be provided by the university in supply order.

3.	      BID price

- The Bidder shall indicate in his offer, list of items with specifications, standard accessories, make and origin, the unit price and total Bid prices of the goods.

- Prices of the optional accessories should be quoted separately. Rates quoted should be on the basis of F.O.R, Shaheed Benazir Bhutto University, Main Campus Sheringal Dir-Upper as mentioned in the B.O.Q.

- Taxes levied by the government, if any, shall be paid by the bidder and must be included in the quoted prices.

- In case of supply from local market or from ready stock, security @ 10% of the total bill will be deducted for a period of six months and will be released subject to receiving satisfactory report from the concerned office.

- In case of items supplied from local stock, sales Tax and Income Tax will be deducted from the supplier’s bill as per government rules. GST will be refunded subject to the provision of Sale Tax invoice.

4.	Currencies of BID

- The prices shall be quoted in Pakistani rupees on F.O.R basis,

5,	BID validity

- The Bid remain valid and open for acceptance of the purchaser for a period till 30.06.2015 from the specified date of opening.

6.	Earnest Money/Call Deposit

- The Quotation must be accompanied with a call deposit of 2% of the local quoted prices with their offer in the form of Bank CDR/demand draft/pay order in favor, of the Shaheed Benazir Bhutto University, Sheringal (refundable).

- The earnest money shall be denominated in Pakistani rupees and shall be in the form of demand draft, pay order or call deposit, issued by Pakistani bank or branch of a foreign bank, operating in Pakistan.

- In case of alternate prices, earnest money will be based on the maximum quoted price of the same items. The demand draft/CDR shall be returned to unsuccessful bidders.

- The earnest money may be forfeited in the following cases:

- When Tenderer withdraws or modifies the offer, after opening of tender but before acceptance of tender,

- When Tenderer does not execute the agreement if any, prescribed within the specified time.

- When the Tenderer does not deposit the security money after supply order is given & accepted.

- When he fails to commence the supply of the items as per supply order within the time prescribed.

- Signing of BIDS

  - The person signing the Bids shall initial all the pages of the bid along with official seal/stamp where entries are made.

- Dead Line for submission of Bids

- All Bids must reach and be received by the purchaser on or before the prescribed date line during the office hours.

- Late BIDS

- Late bids will not be entertained and returned unopened to the Bidders.

- Canvassing

- Counseling or canvassing staff or elected representatives by any Tenderer will become liable to disqualification.

- Delivery of Equipment / Items

The tenderer, whose tender is accepted, shall arrange to supply as per schedule to be provided by the university in supply order.

- The items/ equipment (s) will be supplied in packed form and opened in front of the Purchase Committee. The working manuals, circuit diagrams, related literature and computer programs, if any, must accompany the items/ equipment(s) in original.

- The tenderer shall be responsible for the proper packing, so as to avoid damage under normal conditions of transport by sea, rail and road or air and delivery of the material in the good condition to the consignee at destination.

- In the event of any loss, damage, breakage or leakage or any shortage the tenderer shall be liable to make good such loss and shortage found at the checking / inspection of the material by the consignee. No extra cost on such account shall be admissible.

- The goods will be delivered at the destination godown in perfect condition.

- The supplier, if he so desires may insure the valuable goods against lost by theft, destruction or damage, by fire, flood under exposure to whether or otherwise viz., (war, rebellion, riot, etc.,).

- The insurance charges will be borne by the supplier and tendering committee will not be required to pay such charges if incurred.

- Performance Security

- Within one week of issuance of the purchase/supply order successful bidders shall furnish to Shaheed Benazir Bhutto University, Sheringal Dir Upper the performance security bond as per Annexure A equivalent to 10% of the bid price in the form of bank guarantee/Insurance Guarantee from a company having AA  ranking, the performance security shall be payable to Shaheed Benazir Bhutto University as compensation for any loss resulting from the suppliers failure to complete its obligations.

- The performance security will be discharged by the University and returned to the supplier after completion of the supplier’s performance obligations under the contract.

- Forfeiture of Security Deposit

- Security amount in full or part may be forfeited in the following cases:

    - When the terms and conditions of contract is breached.

    - When the Tenderer fails to make complete supply satisfactorily.

    - Notice of reasonable time will be given in case of forfeiture of security deposit. The decision of the Purchase Committee in this regard shall be final.

- Mode of Payment

- Payment shall be made in the form of cheque which shall be issued after receipt of equipment / items, installation and inspection, according to the following schedule.

    - 90% payment will be made only after the equipment(s) is fully installed and comes in working condition.

    - 10% after three months from the date of commissioning.

- No advance payment will be made. Payments will be made subject to the clearance of account and audit cells.

- The time specified for delivery in the tender form shall be deemed to be the essence of the contract and the successful tenderer shall arrange supplies within the specified period.

- If the supplier requires an extension of time in completion of contractual supply on account of occurrence of any hindrance, he shall apply in writing to the committee, which has placed the supply order, for the same immediately on occurrence of the hindrance but not after the stipulated date of completion of supply.

- Prices

- Prices charged by the supplier for goods delivered in services performed under the contract shall not exceed the prices quoted the supplier in its bids. The quantity of items to be purchased can be increased / decreased at the quoted/approved rates.

- The Purchase Committee reserves the right to consider a total package deal for all or group of some equipment with a total lowest quoted price for the package rather than lowest prices for the individual items.

- Standard

- The equipment supplied must be tropicalized and it must be capable of functioning under the climatic conditions of Sheringal, Dir Upper.

- There shall be no deviation from specification and country of make as provided with each item. In case of any ambiguity in specification/accessories needed for the full functioning of the equipment, the firm must clear it with the Purchase Committee. However, the decision of the Purchase Committee will be final.

- The goods with standard accessories supplied under this contract shall confirm to the standard maintenance in the technical specification along with the set of operational and maintenance manual it will be responsibility of the supplier to quote equipment in complete package.

- Training

- The firm supplying the item/ equipment(s) will demonstrate the operation / working of the equipment(s) to the satisfaction of the quarter concerned and provide training if needed.

- Calibration of item/equipment

- The approved firm will install the equipment(s) in the presence and to the satisfaction of the Purchase Committee. In case of any defect in the supplied equipment(s) or if it is not in accordance with the desired specification, the item will be changed at the cost of the supplier.

- Guarantee / Warranty

The tenderer would give comprehensive onsite warranty / guarantee that the goods / stores / articles would continue to conform to the description and quality as specified for a period of one year from the date of delivery of the said goods/stores/articles to be purchased and that notwithstanding the fact that the purchaser may have inspected and/or approved the said goods/stores/article, if during the aforesaid period of one year, the said goods/stores/articles, be discovered  not to conform to the description and quality aforesaid or have determined (and the decision of the Purchase Committee in that behalf will be final and conclusive), the purchaser will be entitled to reject the said goods/stores/articles or such portion  thereof as may be discovered not to conform to the said description and quality, on such rejection the goods/articles/stores will be at the seller’s risk and all the provisions relating to rejection of goods etc. shall apply.

- The tenderer shall, if so called upon to do, replace the goods etc., or such portion thereof as is rejection by Purchase Committee, otherwise the tenderer shall pay such damage as may arise by the reason of the breach of the condition herein contained. Nothing herein contained shall prejudice any other right of the Purchase Committee in that behalf under this contract or otherwise.

- The tenderer shall also replace machinery and equipments, in case it is found defective which cannot be put to operation due to manufacturing defect, etc. In case of machinery and equipment specified by the purchase Committee, the tenderer shall be responsible from carrying out annual maintenance and repairs on the terms and conditions as may be agreed. The tenderer shall also be responsible to ensure adequate regular supply of spare parts needed for a specific type of machinery and equipments whether under their annual maintenance and repairs rate contract or otherwise. In case of change of model he will give sufficient notice to the Purchase Committee who may like to purchase spare parts from them to maintain the machinery and equipments in perfect condition.

- The firm must have a representative office in Peshawar/Islamabad/Lahore, which can be contacted in case of any problem encountered during the working of equipment(s).

- Conforming Tender

- A conforming tender is defined as follows:

    - It is submitted on time.

    - It is lodged at the nominated place.

    - All required forms are completed.

    - Documents are properly signed.

    - It complies with the tender conditions.

    - There are no commercial and contractual qualifications to the tender.

- A non-conforming tender is one, which does not satisfy the above requirements and it may be rejected.

- Disqualification of Tender

- The tenderer shall observe all relevant statutory and legal requirements when complete the tender. Any Tender engaged in collusion with other tenderers shall be disqualified from tendering.

22              Delivery Schedule

- For Local items Delivery Schedule should be Two (2) months from issuance of Supply Order.

- For Imported items Delivery Schedule should be Three (3) months from the issuance of Supply Order.

- Keeping in view the actual problems/delays in delivering the respective items, Delivery Schedule can be relaxed with the approval of the Competent Authority.

23                Delay in Delivery

- In case of extension in the delivery period, the recovery shall be made on the basis of following percentages of value of goods stores / work completion which the tenderer has failed to supply / complete the work.

Conditions with Percentage

- Delay up to one fourth period of the prescribed delivery period.

2.5 %

b.	Delay exceeding one fourth but not exceeding half of the prescribed period.

5.0 %

c.	Delay exceeding half but not exceeding three fourth of the prescribed period.

7.5 %

d.	delay exceeding three fourth of the prescribed period.

10.0 %

- Fraction of a day in reckoning period in supplies shall be eliminated if it is less than half a day. The maximum amount shall be 10%.

- The security money shall be refunded immediately after expiry of warranty period provided there is no breach of contract by the supplier and provided there is no outstanding against the tenderer.

24               Recoveries

Recoveries of liquidated damages, short supply, breakage, rejected articles shall ordinarily be made from bills.

Annexure -A

Performance Bond

To

The Registrar/Director Finance

Shaheed Benazir Bhutto University, Sheringal

Dear Sir,

The AGREEMENT DATE:_______________ between Shaheed Benazir Bhutto University, Sheringal Dir Upper & M/S _____________________             NO.________________ in consideration of your having concluded a CONTRACT Evidenced by purchase order No. __________________Dated._________. With Messer’s ______________________ (supplier) for ___________________and in consideration of value received from the supplier, we agree and undertake as follows:

      - To make conditional payment of __________________or unconditional payments from time to time is called upon totaling the said sum of ____________ being 10 % of the contract price mentioned in the said purchase order / agreement upon your written demand (s)  without further recourse, questions or reference to the suppliers default in compliance with its obligations, liabilities and responsibilities arising under and in pursuance of the warranties and guarantees committed in the said purchase order / agreement.

2.		To accept written intimation from you is sufficient evidence of default or non compliance as aforesaid in the part of supplier and to make payment accordingly within 15 days of receipt of the written intimations.

3.		To keep this guarantee in full force from the date of this guarantee up to two year after the date of installation and successful operation of  items/ equipments.

4.		No grant of time or other indulgence to or composition or arrangement with supplier in respect of the performance of its obligation under and pursuance of the said agreement / purchase order of any clause thereof, with or without notice to us shall in any manner discharge or otherwise how so ever effect this guarantee and out liabilities and commitments here under.

5.		This guarantee should also cover obligations of the supplier so for as the liquidated damages as concerned as provided in agreement / purchase order any recovery on account of liquidated damages shall not reduce the value of 10% provided here in.

6.		This guarantee shall be binding on us at our successors in interest and shall be irrevocable.

Yours Faithfully

__________________

Name of Person & Designation

Name of Firm/Company

REQUIREMENTS OF CHEMICALS (Pharmacy Department) Part-A

| S.NO | Name of chemicals | Quantity required | Price Per Unit | Total |
| --- | --- | --- | --- | --- |
|  | Ammonia | 5 L |  |  |
|  | Ammonium chloride | 3Kg |  |  |
|  | Acetic acid | 18 L |  |  |
|  | Anise oil | 2 L |  |  |
|  | Accacia gum | 5 kg |  |  |
|  | Amaranth solution | 1.5 L |  |  |
|  | Acacia gum | 10 kg |  |  |
|  | Acetyl salicylic acid | 5 kg |  |  |
|  | Acetone | 25 L |  |  |
|  | Acetyl chloride | 1 kg |  |  |
|  | Acetic anhydride | 1 L |  |  |
|  | Aniline | 2.5 L |  |  |
|  | Acetanilide | 1 kg |  |  |
|  | Aluminium chloride | 1 kg |  |  |
|  | Acetyl chloride | 1 L |  |  |
|  | Acriflavine | 1 Pack |  |  |
|  | Acetamide | 1 Kg |  |  |
|  | 4-amino phenol | 250 gm |  |  |
|  | Acetophenone | 1 L |  |  |
|  | Aspartic acid | 100 gm |  |  |
|  | 4-amino benzoic acid | 250 gm |  |  |
|  | 2-acetyl salicylic acid | 1 kg |  |  |
|  | Amm. Bicarbonate | 2 kg |  |  |
|  | Ammonium molybedate | 1 kg |  |  |
|  | Acid fuchsin ind. | 250 ml |  |  |
|  | Anthrone | 50 gm |  |  |
|  | Adipic acid | 1Kg |  |  |
|  | Aluminium hydroxide | 1 Kg |  |  |
|  | Ascorbic acid | 2 Kg |  |  |
|  | Arginine | 100 gm |  |  |
|  | Albumin(bovine) | 500 gm |  |  |
|  | Anthraciene | 250 gm |  |  |
|  | Aspirin powder | 6 Kg |  |  |
|  | Alanine | 50 Gm |  |  |
|  | Amm iron II sulphate | 1Kg |  |  |
|  | Alizarine red | 25 gm |  |  |
|  | Amm.sulphate | 1 kg |  |  |
|  | Amm oxalate | 1 kg |  |  |
|  | Agarose | 10 g |  |  |
|  | Acrylamide | 1 kg |  |  |
|  | Aluminium oxide | 2 Kg |  |  |
|  | Acetonitrile | 8 L |  |  |
|  | Atrophine sulphate | 100 gm |  |  |
|  | Boric acid | 1 kg |  |  |
|  | Benzene | 10 L |  |  |
|  | Bromine | 3 L |  |  |
|  | Benzil | 500 gm |  |  |
|  | Bentonite | 1 kg |  |  |
|  | Boric acid | 1 kg |  |  |
|  | Beeswax | 1 kg |  |  |
|  | Benzamide | 500 gm |  |  |
|  | Benzaldehyde | 500 gm |  |  |
|  | Benzoyl chloride | 1 L |  |  |
|  | Benzophenone | 500 ml |  |  |
|  | Benzyl chloride | 1 L |  |  |
|  | Calcium carbonate | 2 kg |  |  |
|  | Copper sulphate | 3 kg |  |  |
|  | Citric acid | 2 kg |  |  |
|  | Carbon tetra chloride | 10 L |  |  |
|  | Chloroform | 20 L |  |  |
|  | Cetomacrogol | 1 kg |  |  |
|  | Coriander oil | 500 ml |  |  |
|  | Cod liver oil | 500 ml |  |  |
|  | Calamine | 1 kg |  |  |
|  | Clove oil | 500 ml |  |  |
|  | Cinnamon oil | 500 ml |  |  |
|  | Castor oil | 500 ml |  |  |
|  | Canada balsm | 1 kg |  |  |
|  | Cardamom oil | 500 ml |  |  |
|  | Caraway oil | 500 ml |  |  |
|  | Cetyl alcohol | 1 L |  |  |
|  | Cresol red solution | 500 ml |  |  |
|  | Cellulose | 1 kg |  |  |
|  | Cadmium chloride | 250 gm |  |  |
|  | Carboxy methyl celulose | 2 kg |  |  |
|  | Carnauba black wax | 1 kg |  |  |
|  | Diethyl pthalate | 1 L |  |  |
|  | Cupric sulphate | 2 Kg |  |  |
|  | Cupric acetate | 2 Kg |  |  |
|  | Cinamic acid | 1 kg |  |  |
|  | Coumarin | 1 kg |  |  |
|  | Cupric oxide | 1 kg |  |  |
|  | Chloro acetic acid | 1 kg |  |  |
|  | Caffeine | 1 Lbs |  |  |
|  | Crystal violet | 100 gm |  |  |
|  | Chloral hydrate | 3 kg |  |  |
|  | Camphor | 2 kg |  |  |
|  | Calcium chloride | 4 kg |  |  |
|  | Creatinine | 25 gm |  |  |
|  | Ceric amm sulphate | 25 gm |  |  |
|  | Chloramines | 1 L |  |  |
|  | Cyclo hexane | 2.5 L |  |  |
|  | Cystine | 25 gm |  |  |
|  | Calcium hydroxide | 2 Kg |  |  |
|  | 2-chlorotoluene | 500 ml |  |  |
|  | Calcium acetate | 1 Kg |  |  |
|  | Cetyl alcohol | 2 Kg |  |  |
|  | Cobalt chloride | 500 gm |  |  |
|  | Cobalt nitrate | 500 gm |  |  |
|  | Congo red | 50 gm |  |  |
|  | Cresol red solution | 50 gm |  |  |
|  | Cellulose | 1 kg |  |  |
|  | Empty Capsule Shell (Size 000-5) | 500 gm each |  |  |
|  | Cadmium chloride | 250 gm |  |  |
|  | Chloro benzene | 2.5 L |  |  |
|  | Calcium phosphate | 2 kg |  |  |
|  | Calcium sulphate | 2 kg |  |  |
|  | Calcium stearate | 2 kg |  |  |
|  | Calcium oxide | 1 kg |  |  |
|  | Di pot.hydrogen phosphate | 2 kg |  |  |
|  | Di methyl aniline | 1 L |  |  |
|  | Dichloromethane | 20 L |  |  |
|  | Di phenylamine | 1 kg |  |  |
|  | Di oxane | 2.5 L |  |  |
|  | Di methyl formamide | 2.5 L |  |  |
|  | Di sod phosphotungstate | 250 gm |  |  |
|  | Di sod tartarate | 1 kg |  |  |
|  | 2-6-dichloro phenol indophenol | 25 gm |  |  |
|  | Di ethylamine | 1 L |  |  |
|  | Di sod di hydrogen phosphate | 1 kg |  |  |
|  | Dextrine | 1 kg |  |  |
|  | Dextrine blue | 100 gm |  |  |
|  | Di methyl sulphoxide | 2.5 L |  |  |
|  | Di chloro methane | 2.5 L |  |  |
|  | Di phenyl carbazide | 20 gm |  |  |
|  | Di pot di hydrogen phosphate | 1 kg |  |  |
|  | Ethyl acetate | 25 L |  |  |
|  | Ethanol | 40 L |  |  |
|  | Ethylene diamine tetra acetic acid | 1 kg |  |  |
|  | Ether solvent | 15 L |  |  |
|  | Emulsifying wax | 1 kg |  |  |
|  | Ferrous sulphate | 1 kg |  |  |
|  | Eosine(stain) | 25 gm |  |  |
|  | Ephedrine.HCl | 100 gm |  |  |
|  | Ethylene glycol | 6 L |  |  |
|  | Ethylene diamine | 1 L |  |  |
|  | Ferric chloride | 4 kg |  |  |
|  | Ferrous chloride | 2 kg |  |  |
|  | Formic acid | 5 kg |  |  |
|  | Flavor (Orange, mango, banana) | 1 kg each |  |  |
|  | Gluconic acid | 1kg |  |  |
|  | Glucose | 6 kg |  |  |
|  | Gum arabic | 1 kg |  |  |
|  | Gelatin | 1 kg |  |  |
|  | Glutamic acid | 1 kg |  |  |
|  | Glutamine | 1 kg |  |  |
|  | Glass wool | 2 kg |  |  |
|  | Glass slide | 50 packs |  |  |
|  | Glass cover slips | 50 packs |  |  |
|  | Glycine | 2 kg |  |  |
|  | Glutaric acid | 500 gm |  |  |
|  | Gallic acid | 500 gm |  |  |
|  | Glycerine | 15 L |  |  |
|  | Glacial acetic acid | 5 L |  |  |
|  | Glutamic acid | 500 gm |  |  |
|  | Glutamine | 500 ml |  |  |
|  | Hydroxyl ethylene celulose | 1 kg |  |  |
|  | Hydroxyl propyl methyl cellulose | 1 kg |  |  |
| h | Hydroxyl ethyl cellulose | 500 gm |  |  |
|  | Hydrogen per oxide | 2 L |  |  |
|  | Hydro chloric acid | 18 L |  |  |
|  | Hydroquinone | 1 kg |  |  |
|  | Hydroxylamine hydro chloride | 1 kg |  |  |
|  | Histidine | 25 gm |  |  |
|  | 8-hydroxy quinoline | 50 gm |  |  |
|  | 4-hydroxy benzoic acid | 100 gm |  |  |
|  | Iodine | 2 kg |  |  |
|  | Idoform | 2 kg |  |  |
|  | Isatin | 2 kg |  |  |
|  | Iron metal | 2 kg |  |  |
|  | Isoflurophate | 20 packs |  |  |
|  | Kiesulgahr | 3 pack |  |  |
|  | Iso propyl alcohol (IPA) | 10 L |  |  |
|  | Litmus paper blue | 20 pack |  |  |
|  | Litmus paper red | 20 pack |  |  |
|  | Litmus blue powder | 25 gm |  |  |
|  | Lemon oil | 1 L |  |  |
|  | Lactose | 30 kg |  |  |
|  | Light magnesium carbonate | 5 kg |  |  |
|  | Lavender oil | 500 ml |  |  |
|  | Lead metal | 1 kg |  |  |
|  | Lead acetate | 2 kg |  |  |
|  | Lenoline | 2 kg |  |  |
|  | Lithium Hydroxide | 1 kg |  |  |
|  | Light green | 100 gm |  |  |
|  | Light magnesium carbonate | 2 kg |  |  |
|  | light magnesium oxide | 2 kg |  |  |
|  | Leucine | 25 gm |  |  |
|  | Methyl red | 25 gm |  |  |
|  | Methyl orange | 25 gm |  |  |
|  | Magnesium sulphate | 1 kg |  |  |
|  | Malic acid | 1 kg |  |  |
|  | Methyl red | 25 gm |  |  |
|  | Methyl orange | 25 gm |  |  |
|  | Mineral oil | 3 L |  |  |
|  | Methyl Parabin | 5 kg |  |  |
|  | Micro crystalline cellulose | 1 kg |  |  |
|  | Malonic acid | 500 gm |  |  |
|  | Maleic acid | 1 kg |  |  |
|  | Methanol | 40 L |  |  |
|  | Maltose | 1 kg |  |  |
|  | Malachite green | 25 gm |  |  |
|  | Mercuric acetate | 250 gm |  |  |
|  | Magnesium sterate | 5 kg |  |  |
|  | Methyl blue | 1 kg |  |  |
|  | Methyl hydroxyl benzoate | 1 kg |  |  |
|  | Mercuric chloride | 500 gm |  |  |
|  | Magnesium chloride | 4 kg |  |  |
|  | Methyl salicylate | 5 L |  |  |
|  | Magnesium tri salicate | 2 kg |  |  |
|  | Methyl acetate | 2 L |  |  |
|  | m-nitroaniline | 500 ml |  |  |
|  | Mannitol | 1 kg |  |  |
|  | Methionine | 25 gm |  |  |
|  | Magnesium stearate powder | 2 kg |  |  |
|  | Magnesium carbonate | 2 kg |  |  |
|  | Magnesium oxide | 500 gm |  |  |
|  | Methyl spirit | 10 L |  |  |
|  | N-butanol | 25 L |  |  |
|  | n-hexane | 20 L |  |  |
|  | Nitric acid | 15 L |  |  |
|  | 2-nitro phenol | 25 gm |  |  |
|  | 4-nitro phenol | 25 gm |  |  |
|  | Nutmeg oil | 1 L |  |  |
|  | 1-naphthol | 1 kg |  |  |
|  | 2-naphthol | 1 kg |  |  |
|  | 1-napthyle amine | 1 kg |  |  |
|  | Ninhydrin | 1500 gm |  |  |
|  | Nitro benzene | 5 L |  |  |
|  | Nickel chloride | 250 gm |  |  |
|  | Naphthalene | 1 kg |  |  |
|  | O-nitrochlorobenzene | 1 L |  |  |
|  | Oxalic acid | 4 kg |  |  |
|  | Orange oil | 1 L |  |  |
|  | Oleic oil | 1 L |  |  |
|  | Olive oil | 1 L |  |  |
|  | Orcinol | 25 gm |  |  |
|  | Phenol | 2 L |  |  |
|  | P-aminophenol | 1 L |  |  |
|  | Pot.di hydrogen phosphate | 3 kg |  |  |
|  | Pot.dichromate | 1 kg |  |  |
|  | Pot.permaganate | 1 kg |  |  |
| p | Paracetamol | 2 kg |  |  |
|  | Phenolphthalein | 500 gm |  |  |
|  | Propyl parabin | 5 kg |  |  |
|  | Paraffin oil | 1 L |  |  |
|  | Pot. iodide | 1 kg |  |  |
|  | Pot. Meta bisulphate | 1 kg |  |  |
|  | Phenobarbitone | 100 gm |  |  |
|  | Paraffin soft | 2 kg |  |  |
|  | Paraffin hard | 2 kg |  |  |
|  | Petroleum jelly | 2 kg |  |  |
|  | Propylene glycol | 5 L |  |  |
|  | Poly sorbate | 500 gm |  |  |
|  | Petroleum ether | 5 L |  |  |
|  | Poly ethylene glycol (4000) | 1 kg |  |  |
|  | Poly ethylene glycol (8000) | 1 kg |  |  |
|  | Poly ethylene glycol (200) | 1 L |  |  |
|  | Potassium hydroxide | 15 kg |  |  |
|  | p.v.p crosslinked | 1 kg |  |  |
|  | povidon | 1 kg |  |  |
|  | Peppermint oil | 2 L |  |  |
|  | Propyl paraben | 500 gm |  |  |
|  | Potassium aluminium sulphate | 1 kg |  |  |
|  | Pyridine | 2 L |  |  |
|  | Phenol red | 1 kg |  |  |
|  | Phenolphthalein | 500 gm |  |  |
|  | Pthallic anhydride | 1 kg |  |  |
|  | Pot. Iodide | 1 kg |  |  |
|  | Phenyl hydrazine hydro chloride | 500 gm |  |  |
|  | Pot. hydrogen phosphate | 1 kg |  |  |
|  | Pot. Meta bi sulphate | 250 gm |  |  |
|  | Pthalic anhydride | 500 gm |  |  |
|  | Pyrocatechol | 1 kg |  |  |
|  | Pot.Hydride | 2 kg |  |  |
|  | Pot.chromate | 1 kg |  |  |
|  | Phenyl urea | 25 gm |  |  |
|  | Pot.Thyiocyanate | 2 kg |  |  |
|  | Phthalimide | 1 kg |  |  |
|  | Pot.sod.tartrate. | 1 kg |  |  |
|  | Phenacetine | 100 gm |  |  |
|  | Pot.hydrogen phthalate | 500 gm |  |  |
|  | Picric acid | 2 kg |  |  |
|  | Petroleum ether | 2.5 L |  |  |
|  | Pot.chloride | 2 kg |  |  |
|  | Per chloric acid | 1 L |  |  |
|  | Phosphotungstic acid | 250 gm |  |  |
|  | Propylene glycol | 1 L |  |  |
|  | Poly sorbate | 500 mg |  |  |
|  | Proline | 25 gm |  |  |
|  | O-phosphoric acid | 2.5 L |  |  |
|  | Pot.citrate | 500 gm |  |  |
|  | Petroleum ether | 2.5 L |  |  |
|  | Pot.bromide | 500 gm |  |  |
|  | Palmitic acid | 1 kg |  |  |
|  | 2-propanol | 5 L |  |  |
|  | Poly ethylene glycol(400) | 2 L |  |  |
|  | Pot.carbonate | 2 kg |  |  |
|  | Pot.ferrocyanide | 500 gm |  |  |
|  | Pot.nitrate | 1 kg |  |  |
|  | Pot.sulphate | 1 kg |  |  |
|  | Poly ethylene | 1 kg |  |  |
|  | Poly vinyl chloride | 1 kg |  |  |
|  | Poly vinyl pyrolidone | 2 kg |  |  |
|  | Pot.floride | 500 gm |  |  |
|  | Paracetamol | 1 kg |  |  |
|  | Resorcinol | 25 gm |  |  |
|  | Rose oil | 1 L |  |  |
| r | Rasspberry | 1 L |  |  |
|  | Silver metal | 1 kg |  |  |
|  | Sod. Carbonate | 4 kg |  |  |
|  | Sod.hydroxide | 12 kg |  |  |
|  | Sod.bi carbonate | 7 kg |  |  |
|  | Starch | 35 kg |  |  |
|  | Saccharine | 1 kg |  |  |
|  | Salicylic acid | 2 kg |  |  |
|  | Sod.acetate | 3 kg |  |  |
|  | Saffranin | 500 g |  |  |
|  | Sod.thio sulphate | 1 kg |  |  |
|  | Sulphanilic acid | 500 gm |  |  |
|  | Sod nitropruside | 250 gm |  |  |
|  | Succinic acid | 1 kg |  |  |
|  | Succinamide | 500 gm |  |  |
|  | Sod.hydrogen sulphate | 500 gm |  |  |
|  | Silica gel (flash & column) | 2 kg each |  |  |
|  | Salicyladehyde | 500 gm |  |  |
|  | Sorbitol | 500 ml |  |  |
|  | Sodium benzoate | 1 kg |  |  |
|  | Saccharine Sodium | 1 kg |  |  |
|  | Sod.lauryl sulphate | 5 kg |  |  |
|  | Sodium salicylate | 4 kg |  |  |
|  | Sod.carboxy methyl cellulose | 8 kg |  |  |
|  | Sucrose | 30 kg |  |  |
|  | Soft soap | 1 kg |  |  |
|  | Sod. Sulphate | 4 kg |  |  |
|  | Sod.benzoate | 500 gm |  |  |
|  | Sod.metal | 1 kg |  |  |
|  | Sod. Nitrite | 1 kg |  |  |
|  | Silver nitrate | 4 kg |  |  |
|  | Sod. Nitrate | 500 gm |  |  |
|  | Saffranine | 25 gm |  |  |
|  | Sulphuric acid | 15 L |  |  |
|  | Sod.citrate | 1 kg |  |  |
|  | Sublimed sulphur | 1 kg |  |  |
|  | Sod.chloride | 7 kg |  |  |
|  | Sod. Molybdate | 500 gm |  |  |
|  | Silica gel moisture | 1 kg |  |  |
|  | Sod.acid phosphate | 500 gm |  |  |
|  | Sod. Sulphite | 500 gm |  |  |
|  | Stearic acid | 4 kg |  |  |
|  | Sod.di hydrogen phosphate | 1 kg |  |  |
|  | Sod.salicylate | 1 kg |  |  |
|  | Sod bromide | 500 gm |  |  |
|  | Sulphanilamide | 250 gm |  |  |
|  | Sod tungstate | 250 gm |  |  |
|  | Sod floride | 500 gm |  |  |
|  | Tartaric acid | 4 kg |  |  |
|  | Thio urea | 1 kg |  |  |
|  | Toluene | 5 L |  |  |
|  | Thymol | 1 kg |  |  |
|  | Tannic acid | 2 kg |  |  |
|  | Turpentine oil | 5 L |  |  |
|  | Tincture of benzoin | 500 ml |  |  |
|  | Tragacanth | 1 kg |  |  |
|  | Triethylamine | 1 L |  |  |
|  | Trichloro acetic acid | 250 gm |  |  |
|  | Talc | 10 kg |  |  |
|  | Wool fat | 2 kg |  |  |
|  | Triethylamine | 2 L |  |  |
|  | Tween 80 | 5 packs |  |  |
|  | Tween 20 | 5 packs |  |  |
|  | Tri chloro acetic acid | 500 gm |  |  |
|  | Tryptophan | 25 gm |  |  |
|  | Tyroscine | 25 gm |  |  |
|  | Tri. Sod. Citrate | 1500 gm |  |  |
|  | Titanium di oxide | 500 gm |  |  |
|  | Thymol blue | 25 gm |  |  |
|  | Triethanolamine | 1 L |  |  |
|  | Tin granular | 200 gm |  |  |
|  | Universal ph paper | 5 packs |  |  |
|  | Urea | 1 kg |  |  |
|  | Vaniline | 1 kg |  |  |
|  | Valine | 25 gm |  |  |
|  | Whatman filter paper | 5 packs |  |  |
|  | White Petrolatum | 5 kg |  |  |
|  | Xylene (xylol) | 2.5 L |  |  |
|  | Zinc sulphate | 1 kg |  |  |
|  | Zinc powder | 1 kg |  |  |
|  | Zinc chloride | 500 gm |  |  |
|  | Zinc oxide | 1 kg |  |  |
|  | Zn staining | 500 ml |  |  |
|  | Zein | 100 gm |  |  |
|  | Zinc metal (granulated) | 500 gm |  |  |
|  | Di - hydrogen potassium phosphate | 1 bottle |  |  |
|  | Iron sulphate hepta hydride | 1 bottle |  |  |
|  | Magnesium sulphate | 1 bottle |  |  |
|  | Ammonium nitrate | 1 bottle |  |  |
|  | Dextrose | 1 bottle |  |  |
|  | TMPD (tetra methyl phenylene diammine dihydrochloride) | 2 bottles |  |  |
|  | Calcium chloride | 1 bottle |  |  |
|  | EMB agar | 1 bottle |  |  |
|  | SS agar | 1 bottle |  |  |
|  | Yeast extract | 1 bottle |  |  |
|  | Peptone | 1 bottle |  |  |
|  | Simmons citrate agar | 1 bottle |  |  |
|  | Trypticase soy agar | 1 bottle |  |  |
|  | Meat extract | 1 bottle |  |  |
|  | Casein hydrolysates | 1 bottle |  |  |
|  | Tryptone | 1 bottle |  |  |
|  | Bile esculine agar | 1 bottle |  |  |
|  | Muller Hinton broth | 1 bottle |  |  |
|  | Nitrate broth | 1 bottle |  |  |
|  | Urea broth base | 1 bottle |  |  |
|  | Xylose Lysine deoxycholate agar | 1 bottle |  |  |
|  | SIM agar | 1 bottle |  |  |
|  | Lactose broth | 1 bottle |  |  |
|  | Fluid thioglycolate broth | 1 bottle |  |  |
|  | Ames transport media | 1 pack |  |  |
|  | Eosin | 1 bottle |  |  |
|  | Lactic acid | 1 bottle |  |  |
|  | Potassium acetate | 1 bottle |  |  |
|  | Widal reagents (TO and TH) | 1 bottle |  |  |
|  | Phenol | 1 bottle |  |  |
|  | Giemsa stain | 1 Pack |  |  |
|  | Methylated Spirit | 10 Liters |  |  |
|  | Ampicillin discs | 1 Pack |  |  |
|  | Kenamycin discs | 1 Pack |  |  |
|  | Gentamycin (E -test) | 1 Pack |  |  |
|  | Imipenem (E - test) | 1 Pack |  |  |
|  | Erythromycin (E – test) | 1 Pack |  |  |
|  | Vancomycin (E - test) | 1 Pack |  |  |
|  | Cefixime (E - test) | 1 Pack |  |  |
|  | Ciprofloxacin (E -test) | 1 Pack |  |  |
|  | Nystatin (E - test) | 1 Pack |  |  |
|  | Isopropanol | 5 Liters |  |  |
|  | Glycerol | 1 Liter |  |  |
|  | Iso-amyl Alcohol | 1 Bottle |  |  |
|  | Glacial Acetic Acid (RDH) | 2.5 Liters |  |  |
|  | Sodium Hydroxide | 1 Bottle |  |  |
|  | Ammonium Acetate | 1 Bottle |  |  |
|  | Adrenaline | 10 Vial |  |  |
|  | Atrophin sulphate | 25 mg |  |  |
|  | Alprazolam (Active drug=AD) | 10 Vial |  |  |
|  | Benedict solution | 2.5 L |  |  |
|  | Bromazepam (AD) | 10 Vial |  |  |
|  | Diethylaminobenzaldehyde | 1 L |  |  |
|  | Dimanhydrinate (AD) | 10 Vial/Packs |  |  |
|  | EDTA powder | 2 Kg |  |  |
|  | ESR solution | 2.5 L |  |  |
|  | Furosemide (AD) | 10 Vial |  |  |
|  | Hb reagent | 2.5 L |  |  |
|  | Lignocaine (AD) | 10 vial |  |  |
|  | Magnesium sulphate hepta hydrate | 1 Kg |  |  |
|  | Pilocarpine (AD) 2% and 4% | 10 Eye Drops |  |  |
|  | Phenobarbitone (AD) | 10 Packs |  |  |
|  | Potassium dihydrogen phosphate | 1 Kg |  |  |
|  | Potassium chloride | 3 Kg |  |  |
|  | Potassium iodide | 1 Kg |  |  |
|  | Propanolol (AD) | 10 Packs |  |  |
|  | Picrotoxine (AD) | 10 Packs |  |  |
|  | Sodium dihydrogen phosphate | 2 Kg |  |  |
|  | Sodium pentobarbitone | 500 gm |  |  |
|  | Suxamethonium (AD) | 10 Vial |  |  |
|  | Strychnine (AD) | 10 Vial |  |  |
|  | Sulphadiazine (AD) | 500 mg |  |  |

All chemicals shall be of good manufacturer originating from Spain/USA/Germany/ UK or Equivalent.

REQUIREMENTS OF GLASSWARE (Pharmacy Department) Part-A

| S. No. | Product Description | Qty. Required | Price Per Unit | Total |
| --- | --- | --- | --- | --- |
| 1 | Beaker (25 ml) | 20 |  |  |
| 2 | Beaker (50 ml) | 110 |  |  |
| 3 | Beaker (100ml) | 230 |  |  |
| 4 | Beaker (250ml) | 220 |  |  |
| 5 | Beaker (500ml) | 120 |  |  |
| 6 | Beaker (1000ml) | 130 |  |  |
| 7 | Beaker (2000ml) | 80 |  |  |
| 8 | Test Tubes | 1400 |  |  |
| 9 | Test Tubes Stands | 80 |  |  |
| 10 | Petri Dishes (glass) | 260 (4 inch) |  |  |
| 11 | Inoculating Loop 100 µl calibrated | 25 |  |  |
| 12 | Inoculating loop holder | 9 |  |  |
| 13 | Volumetric Flask (100ml) | 90 |  |  |
| 14 | Volumetric Flask (250ml) | 90 |  |  |
| 15 | Volumetric Flask (500ml) | 110 |  |  |
| 16 | Volumetric Flask (1000ml) | 65 |  |  |
| 17 | Stirrer Rod | 160 |  |  |
| 18 | Funnel various size | 30 each |  |  |
| 19 | Microscopic Slides | 24 boxes |  |  |
| 20 | Glass Cover Slip | 40 boxes |  |  |
| 21 | Watch Glass (2 '') | 130 |  |  |
| 22 | Watch Glass(3'') | 10 |  |  |
| 23 | Sterile Culture Swabs (sticks) | 2 packs |  |  |
| 24 | Tripod Stands | 90 |  |  |
| 25 | Burning matt (gauze) | 160 |  |  |
| 26 | Plastic petri plates | 7 packs |  |  |
| 27 | Dropping bottles for Staining | 150 |  |  |
| 28 | Parafilm strips roll | 2 |  |  |
| 29 | Aspiration Flasks | 12 |  |  |
| 30 | Thermometers (100, 110, 360, -10) | 20 |  |  |
| 31 | Spray Bottles | 16 |  |  |
| 32 | Scissors (pointed, small) | 20 |  |  |
| 33 | Scissors (pointed, larger) | 02 |  |  |
| 34 | Syringe Filters (0.2 micron) | 2 box |  |  |
| 35 | Whatmann Filter # 4 | 2 box |  |  |
| 36 | Whatmann Filter # 1 | 23 box |  |  |
| 37 | Durham tubes | 2 pack |  |  |
| 38 | Urine sterile bottles | 20 |  |  |
| 39 | ESR tubes / stands | 8 |  |  |
| 40 | Depression slides | 40 |  |  |
| 41 | Membrane filters (0.2 micro meter) | 1 Pack |  |  |
| 42 | Test tube holder | 65 |  |  |
| 43 | Dessication chamber (silica beads) | 5 |  |  |
| 44 | Petri Dishes (glass) | 30 Sets (6 inch) |  |  |
| 45 | Conical Flask (100 mL) | 150 |  |  |
| 46 | Conical Flask (250 mL) | 150 |  |  |
| 47 | Conical Flask (500 mL) | 120 |  |  |
| 48 | Conical Flask (1000 mL) | 120 |  |  |
| 49 | Graduated Cylinder (50 mL) | 120 |  |  |
| 50 | Graduated Cylinder (100 mL) | 120 |  |  |
| 51 | Graduated Cylinder (250 mL) | 125 |  |  |
| 52 | Graduated Cylinder (500 mL) | 130 |  |  |
| 53 | Graduated Cylinder (1000 mL) | 124 |  |  |
| 54 | Pipette (1 mL) | 80 |  |  |
| 55 | Pipette (5 mL) | 80 |  |  |
| 56 | Pipette (10 mL) | 70 |  |  |
| 57 | Pipette (25 mL) | 70 |  |  |
| 58 | Pipette Stand | 30 |  |  |
| 59 | Volumetric Flask (10 mL) | 20 |  |  |
| 60 | Volumetric Flask (25 mL) | 20 |  |  |
| 61 | Volumetric Flask (50 mL) | 70 |  |  |
| 62 | Volumetric Flask (100 mL) | 60 |  |  |
| 63 | Volumetric Flask ( 500 mL) | 55 |  |  |
| 64 | Volumetric Flask (1000 mL) | 50 |  |  |
| 65 | Spatula (stainless steel) | 45 |  |  |
| 66 | Stop Watches (digital) | 32 |  |  |
| 67 | Reagent Bottle (100 mL) | 150 |  |  |
| 68 | Reagent Bottle (250 mL) | 180 |  |  |
| 69 | Reagent Bottle (500 mL) | 150 |  |  |
| 70 | Reagent Bottle (2000 mL) | 50 |  |  |
| 71 | Pasture Pipette | 4 boxes |  |  |
| 72 | Mortar & Pestle (small) | 70 |  |  |
| 73 | Mortar & Pestle (large) | 80 |  |  |
| 74 | WBC Pipette | 6 |  |  |
| 75 | RBC Pipette | 6 |  |  |
| 76 | Aluminum Foil | 20 rolls |  |  |
| 77 | Disposable Gloves (Blue/Purple) Large Size | 30 box |  |  |
| 78 | Disposable Gloves (Blue/Purple) Medium Size | 10 boxes |  |  |
| 79 | Disposable Gloves (Blue/Purple) Small Size | 10 boxes |  |  |
| 80 | EDTA Tubes (for Blood Samples) | 3 pack |  |  |
| 81 | Gel Tubes (for Blood Samples) | 1 pack |  |  |
| 82 | Pipette Tips (p 10) | 6 |  |  |
| 83 | Pipette Tips (p 100) | 4 |  |  |
| 84 | Pipette Tips (p 1000) | 4 |  |  |
| 85 | Tip Box (p 10) | 8 |  |  |
| 86 | Tip Box (p 100) | 8 |  |  |
| 87 | Tip Box (p 1000) | 8 |  |  |
| 88 | Paraffin Stripe Roll | 4 |  |  |
| 89 | Mercury thermometer | 20 |  |  |
| 90 | China dish | 50 |  |  |
| 91 | Capillary tubes | 2000 or 20 packs |  |  |
| 92 | Pipette Automatic sucker | 40 |  |  |
| 93 | Syringe type Pipette sucker | 18 |  |  |
| 94 | Burner | 15 |  |  |
| 95 | Separating funnel (250 ml) | 60 |  |  |
| 96 | Separating funnel (500 ml) | 10 |  |  |
| 97 | Separating funnel (1000 ml) | 5 |  |  |
| 98 | Separating funnel (3000 ml) | 3 |  |  |
| 99 | Paint brush | 50 |  |  |
| 100 | Small and larger Forceps | 10 each |  |  |
| 101 | Cotton | 5 Rolls |  |  |
| 102 | Simple stands | 10 |  |  |
| 103 | Glass columns of various sizes | 10 each |  |  |
| 104 | Glass plates for preparing TLC Plates (20*20 cm) | 50 |  |  |
| 105 | TLC plates / cards (20*20 cm) | 2 packs |  |  |
| 106 | Receiving flasks 500 ml | 3 |  |  |
| 107 | Receiving flasks 1000 ml | 3 |  |  |
| 108 | Round bottom flask 50 ml | 80 |  |  |
| 109 | Round bottom flask 100 ml | 100 |  |  |
| 110 | Round bottom flask 250 ml | 80 |  |  |
| 111 | Round bottom flask 1000 ml | 50 |  |  |
| 112 | Buchner filter funnel | 20 |  |  |
| 113 | 3-neck R.Bottom flask (100 ml, 250 ml) | 10 each |  |  |
| 114 | Burette (25 ml) | 10 |  |  |
| 115 | Burette (100 ml) | 10 |  |  |
| 116 | Burette (250 ml) | 10 |  |  |
| 117 | Condenser | 15 |  |  |
| 118 | Desiccators | 10 |  |  |
| 119 | Desiccators plates | 15 |  |  |
| 120 | Filter flask | 15 |  |  |
| 121 | Gas washing bottle | 30 |  |  |
| 122 | Hollow stopper | 15 |  |  |
| 123 | Iron stand clamp | 20 |  |  |
| 124 | Magnetic stirrer bar | 10 |  |  |
| 125 | Melting point apparatus | 10 |  |  |
| 126 | Micro pipette adjustable (various capacity) | 15 each |  |  |
| 127 | Pipette tips | 20 |  |  |
| 128 | China crucible | 20 |  |  |
| 129 | Ointment slab and spatula | 40 |  |  |
| 130 | Pycnometer | 10 |  |  |
| 131 | R.B Flask various capicity | 10 |  |  |
| 132 | Reflux condenser | 10 |  |  |
| 133 | Spatula ( Small & larger size) | 30 |  |  |
| 134 | Glass vials | 300 |  |  |
| 135 | Fusion tube | 100 |  |  |
| 136 | Water distillation plant (electric) | 1 |  |  |
| 137 | Viscometer | 20 |  |  |
| 138 | Iodine flask (250 ml) | 10 |  |  |
| 139 | Wall thermometer | 5 |  |  |
| 140 | Filtration assembly | 5 |  |  |

All glassware shall be of good manufacturer originating from Spain/USA/Germany/ UK or Equivalent.

| Pharmaceutics, Medicinal Chemistry & Instrumentation Labs |  |  |
| --- | --- | --- |
| S.# | Name of Equipment | Specifications | Qty. | Price Per Unit | Total |
| 01 | Spectronic 20-D | Specification Should be: Digital microprocessor control range: 330 - 1000 nm Bandwidth: 6nm Display: 3.5 LCD Zero & Blank set: Automatic Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 02 | UV-visible spectrophotometer (Double beam) | Specifications should be: Wave Length Range: 190---1100 nm Variable bandwidth: 0.5,1,2,4 nm Stray Light: At 220nm (Nal): <0.01%T At340nm (NaNO2) : <0.011%T At 370nm (NaNO2) : <0.01%T At 200nm (KCl): <1%T Wave Length Accuracy: At D2 peak (656.1nm): ± 0.1nm Wavelength Reproducibility: 10Measurments at 656.1 nm: ± 0.05nm Photometric Accuracy: At 1A using NIST 930D filter: ± 0.001A At 2A using NIST 1930D Filter: ± 0.005A Potassium dichromate: ± 0.010A Photometric Reproducibility: Maximum deviation of 10 measurments at 1A: <0.001A Photometric Stability: Stability at 1A, at 500nm with 2sec response time: <0.00015 A/hour Photometric Noise at 500nm (RMS): Noise 500 nm/ 0A RMS Slit 1 nm <0.00005A Baseline Flatness: Slit 1nm ± 0.001A Band pass: 0.5, 1,2,4 nm variable Construction: Solid CNC-machine aluminuim chassis for thermal and vibration stability. Optics: Double beam, sealed, quartz coated mirrior.Lens free system to reduce chromatic aberrations. Monochromator: Seya Namioka. Grating: Holograghic, Concave grating with 1053 lines per mm. Source: Deuterium and Tungsten prealigned source with automatic switch over. Computer :- P IV Computer Printer :- HP LaserJet Printer 1102 or equivalent Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 03 | Melting Point | Specification Should be: No of samples 2 Temperature range Ambient to 300ºC Temperature resolution: 1ºC Temperature accuracy ±1.0ºC at 20ºC, ±2.5ºC at 300ºC Display Three digit LED Sensor Platinum resistance PT100 Ramp rates: 20ºC per min to Plateau 2ºC per min to Plateau Electrical supply 230V, 50Hz, 75W Make: UK/Germany/Korea or Equivalent | 01 |  |  |
| 04 | Rotary Evaporator (Hediloph) | Specification Should be: <> Supplied with Pyrex Glass Diagonal Coil Condenser & 1Litre Evaporating and Receiving Flasks <> Lightweight Counterbalanced Lift Mechanism <> Long Life Sparkless Induction Motor <> Speed Range 20-190RPM <> PTFE/Glass Liquid Pathway for Chemical Inertness <> Long Life Graphite Impregnated PTFE Vacuum Seal <> Flask and Vapour Tube Ejection System <> Continuous Feed System for Use with Large Volumes Evaporator Water Bath <> Corrosion Resistant Stainless Steel 3.5Litre Bowl <> Thermostatic Controller Maintains Set Temperature <> Analogue Temperature Setting <> Indicator Light Shows when Set Temperature is reached <> Temperature Range Ambient-95DegC <> Cool Touch Outer Case <> Integral Boil-Dry Protection Rotary Evaporator Vacuum Pump <> Quiet Vibration Free Operation. <> Long Life PTFE Diaphragm. <> Vacuum 12mbar. <> Flow Rate 21/liter/minute <> Vacuum Regulator with Easy Adjustment. <> Integral Catch Pots. <> Vacuum: 9mbar <> Flow Rate: 18 l/min Recalculating Cooler./ Chiller Cooling Capacity: 450W to 10oC Temperature Range: -20 to +20 oC Control Accuracy: ¬+2 oC Bath Capacity: 03 lit Pump Rate: 10 lit / min Dimensions(w x d x h): 354 x 384 x 851mm Net weight: 25 kg Electrical Supply: 230V, 50Hz Make: UK/Germany/Spain/ Korea or Equivalent | 03 |  |  |
| 05 | Fume Hood | Specification Should be: Durable, Hazardous Chemical Gas Remove. Wide Variety of Material for User Selection. Slide Type Sash Door with Tempered Safety Glass. Powerful Siroco Fan Blower. Built in Utility Device. Dimensions (W x D x H): 1200 x 750 x 2250 mm Air Volume: 1296 CMH Blower (Sirroco Fan): 1 / 4 HP Material Inner: Stainless Steel Material Outer: Powder Coated Steel and Stainless Steel Frame Material Work top: Synthetic Ceramic Plate Utility Device: Air Cock, Gas Cock, Water Cock, Cup Sink Drain Explosion Proof Lamp, Power Consent 110 & 220V Duct: Diameter 200 mm Make: Spain/USA/Germany/Korea or Equivalent | 02 |  |  |
| 06 | Magnetic Stirrer/ Hot Plate | Specification Should be: Power (W): 500 Max. Plate Temp. C>450 Temp. Control C: + 5C Stirrer Speed (rpm): 0 - 2000 Plate Dimension (mm): 210 x 210 Heated Area (mm) : 150 x 150 Weight Kg: 4.2 Make: Spain/USA/Germany/ Korea or Equivalent | 02 |  |  |
| 07 | Stabilizer for equipment with moveable trolly | Specifications should be: Capacity: 10KVA, 20KVA & 50 KVA Min voltage: 100V Max. Voltage 220V With good quality and latest features. Local made | 03 |  |  |
| 08 | Distillation Apparatus | Specification Should be: Built in constant level device Conductivity: 3 to 4 us/cm Output: 4 liter per hour Safety thermostat built into the heater assembly Boiler fitted with 3KW chromium plate heater Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 09 | Automatic Double Water Still | Specification Should be: <> Fully Automatic Double Operation System <> Sensing water level in boiling chamber to protect heater from over heating <> Sensing water supply to control distillation process | 01 |  |  |
| 10 | Analytical Balance | Specification Should be: Anti-vibration Doors open wide in three directions. Level adjustment with ease Piece counting function is standard Ready for specific gravity measurements. Unit conversion Meets demands of jewelry and gold weighing Capacity: 220 gm Minimum Display: 0.0001 gm (0.1 mg) Pan Size approx. : 80 mm Make: Spain/USA/Germany/ Japan or Equivalent | 02 |  |  |
| 11 | Water Bath | Specification Should be: <> Precision Digital PID Controller <> Seamless Stainless Steel <> Various Application <> Over Temperature Protection <> Protected Heater and sensor from unexpected damage Temp. Range: Ambient +5C to 99C Material Bath: Seamless Stainless Steel (SUS304) Material Case: Powder Coated Steel Capacity: 11 liters/ 22 liters Make: Spain/UK/USA/Germany/Finland or Equivalent | 07 |  |  |
| 12 | IR Spectrophotometer | The system should have the following specifications. Wavelength Range: Must have a scan range of 8,300 – 350 cm-1 optimized, proprietary KBr. Spectral Resolution: 0.5 cm-1 standard. Wavelength Precision: Better than 0.01 cm-1 at 3000 cm-1 Wavelength Accuracy: 0.1 cm-1 at 3000 cm-1 Signal-to-noise: 9,300:1 peak-peak, 5 seconds 32,000:1 peak-peak, 1 minute Detectors: High linearity room temperature detector (standard) Optical Windows: KBr (standard), ZnSe option for exceptionally high humidity environments Optics: double beam Communication: USB, wireless and TCP/IP interface allows direct connection with LAN. The system should be preferred with UPS backup. The system should have UATR. Computer :- Core i7 Computer with Printer HP LaserJet) Make: Spain/UK/USA/Germany/Finland or Equivalent | 02 |  |  |
| 13 | pH Meter (Bench top) | Specifications should be: pH Range: -2.00 to 16.00 pH Resolution: 0.01 pH Accuracy: + 0.02 pH MV Range: + 1999mV Resolution: 1 mV Accuracy: + 1mV Input impedance: > 1012 ohms Temperature Range: -10 to 105 C Resolution: 0.1 C Accuracy: + 0.5 C ATC Range: -10 to 105 C Manual TC Range: -10 to 105 C Calibration: Manual Display: 3 1/2 digits LCD Power: Battery 9V PP3 or Optional Power Supply Make: Spain/UK/USA/Germany/Korea or Equivalent | 03 |  |  |
| 14 | Microwave Oven | Specifications should be: Capacity: 35 liters With good quality and latest features. Dawlance or Equal | 01 |  |  |
| 15 | Flame Photometer | Specification Should be: <> Same instrument can be used for industrial as well as clinical application <> Digital display of final results in concentration methods with or without internal standard <> Simultaneous determination of Na, K and Li, Ca <> Automatic curve correction, automatic instrument calibration and zero <> Automatic Flame Ignition <> Automatic Filter selection Technical Specification: Source: Flame Data Manager: Microprocessor Security: Internal Value stops gas exit when air pump is off, air pump is automatically arrested in case of lack of flame Electrical Requirement: 220V, 55 Hz OR 110V, 50/60 Hz Gas: LPG (Propane, Butane) Gas adjustment: Two Pressure Valves, with adjusting Guarantee a constant pressure of Air and Gas Limits of detection: Na & K <= 0.2 PPM/ Li <= 0.25 and Ca <= 50 PPM Sensitivity: Na & K <= 0.2 PPM/ Li <= 0.25 Make: UK/Germany/Korea or Equivalent | 01 |  |  |
| 16 | HPLC+UPS | HPLC should be a microprocessor controlled Binary System. PUMP * Flow rate range should be 0.01 to 10.0 mL/min. * Maximum operating pressure rang should be 0 to 6100 psi. * Flow Precision should be at least 0.3% * Flow Accuracy should be ±1% at 1ml/min. * Pump should be piston type. Uv / Vis Detector * Wavelength Range should be 190 to 700nm. * Bandwidth should be 5 nm (Not more than 5 nm will be acceptable). * Wavelength Accuracy should be ± 1nm. * Wavelength Reproducibility should be ± 0.5 nm. * Optics should be dual beam. * Light Source: Deuterium(190-360 nm) and tungsten (360-700 nm). Software: * Software should be Window XP operating system based. * It should control full HPLC system. * Communication should be on RS232 port/USB. * It should has graphical method editing, for visual optimization of component names, ISTD and reference peak identification search windows component grouping, and data processing and calibration parameters. * It should has the facility of display component names, retention times, relay events, and baseline timed events in Graphic method editing. * It should obtain average and %RSD value of summarized component amounts, area heights, response factors. HPLC Column Oven * Operating rang should be 30 to 90 C. * Temperature accuracy should be + 1C. * Temperature Stability should be + 0.2C. * Should have Leakage sensor for safety. Column C18 Recent model Computer and Printer. UPS supported the complete system Make: USA / Japan / UK | 01 |  |  |
| 17 | Incubator | Specification Should be: Deliver a degree of temperature uniformity regulated by a dependable micro-computer intelligent control & PID program. It maintains a maximum of 65°C, displayed on a large digital screen. It has a high-quality cold rolling steel electrostatic sprayed exterior, adjustable shelves & a sealed door. Capacity: 50, 125 & 300 liters Temp. Range: RT+5-70°C Temp. Fluctuation: ±0.5°C Ambient Temp.: 5-40°C Time Range: 1-9999min Temp. Display Resolution: 0.1°C Load Per Rack: 15kg 2 for standard configuration Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 02 |  |  |
| 18 | Vortex Mixer | Specification Should be: Speed: 3000 rpm Type: Test Tube Overall Dimension: 135x185x180 mm Power Supply: 110/220±20 50/60Hz Speed Range: Fixed 2500 rpm Orbit Diameter: 4 mm Speed Adjustment: Not applicable Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 19 | Sortorious / Electronic Balance | Specification Should be: Capacity: 320 gm Minimum Display: 0.001 gm Repeatability: 0.001 gm Linearity: ±0.002 gm Operating Ambient Temperature: 10 - 30 Temperature Coefficient Sensitivity (ppm/C): ±3 Pan Size (mm) approx. : ø110 Main Body Dia (mm) approx.: 206w× 291d × 241h Power requirement: AC adaptor (DC12V, 1A) Make: Spain/UK/USA/Germany/Japan or Equivalent | 03 |  |  |
| 20 | Centrifuge Machine | Specification Should be: Speed Range upto 14800 RPM Max. Capacity: 24 x 2.2 ml Angle Rotor 24 x 1.5/2.5 ml Reaction Vials E.G. No. 15008, 15040 Incl. Polysulfone Lid No. 17882 Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 21 | Deep Freezer (-35C) | Specification Should be: <> Complete sealing & closure mechanism for ultra low temp <> Non-CFC/ HCFC Refrigeration System <> Heavy-duty and user friendly designed chamber structure <> Auto voltage regulation & energy saving electric circuit <> Optional LN2 & CO2 back up system <> Controler, Software, Alarm & Casecade Ref. System Capacity: 369 liters Inner Dia (W x D x H): 600 x 850 x 955 mm Outer Dia (W x D x H): 895 x 845 x 1660 mm Compressor: 3/ 4HP Controller: Microprocessor Digital PID Controller with Battery back up system Temperature: -10C to -35C Exterior Material: Epoxy powder coated EGI steel Interior Material: Stainless Steel 304 Safety: High/ Low Temp., Protector, ELCB, Thermal Protector Electric Supply: 220/ 230V, 50/60Hz Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 22 | Pharmaceutical Refrigerator | Specification Should be: Volume: 580 liters External Panel: Sprayed steel sheet Internal Panel: Sprayed steel sheet Insulation: Styrene polyurethane foam (Freon-free) No’s of Rack: 06 Cooling: Air circulation Compressor: Sealed Defrosting: Automatic Thermostat: Electronic control system Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 23 | Digital Ultrasonic Bath | Specification Should be: <> Built - in Microprocessor controller <> Backlit LCD screen (500 series) <> Furnishing all information - ultrasonic power, set time, elapsed time, set temperature, current temp. <> Built - in drain valve unit <> Selectable use with ultrasonic strength controller Technical Specifications: Bath Capacity: 08 liters Temp. Range: 0 - 50(digital) Timer: 0-99min (digital) Electrical: AC110V or 220V, 50/60 Hz Make: UK/Germany/Korea or Equivalent | 01 |  |  |
| 24 | Binocular Stereo Microscope | Specification Should be: Optical and mechanical qualities place at the top of that sought-after Category of appliances and the quality ratio is exceptionally good. Head: Binocular Objectives: 0.7 …. 4.5x Zoom Working Distance: 100 mm Stand: Pillar Stand Illumination: Incident and transmitted light, 12V / 10W halogen Make: Spain/UK/USA/Germany/Finland or Equivalent | 05 |  |  |
| 25 | Digital Viscometer | Specifications should be: Description: E, D and C Rotational Viscometer Measuring Accuracy: +/- 1% FSD Reproductively 0.002 Hertz: 50/60 Hz Voltage: 100 – 240V Viscosity Range: depending on version (L or R) Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 26 | UV Lamp | Specifications should be: Dual Range 1 x 6Watt 365nm 1 x 6Watt 254nm Aperture Size 50x150mm Make: Spain/UK/USA/Germany/Korea or Equivalent | 03 |  |  |
| 27 | Atomic Absorption Spectrophotometer | System specifications should be: Spectrometer: *The spectrometer must have real time double-beam optics. *The instrument must have deuterium background correction. *The monochromator must have wavelength range: 190 – 900 nm and wavelength selection must be automated and controlled through the instrument computer. *The monchromator must be littrow design with motorized drive for automatic wavelength selection and peaking. *The instrument must have at least three separate bandwidth slits that are automatically selectable. *These slits must be 0.2, 0.7, and 2.0 nm. *Detector should be wide-range segmented solid-state detector, including a built-in low-noise CMOS charge amplifier array. *The instrument must have a motorized, computer controlled, and eight lamp turret with built-in power supply for EDL lamps. All lamp alignments must be accomplished automatically through the instrument controller. Flame Atomizer *Gas Controls: Should be fully computer-controlled with oxidant and fuel monitoring. Keyboard-activated remote ignition system with air-acetylene. Acetylene flow should automatically adjusted prior to the oxidant change when switching to or from nitrous oxide-acetylene operation. *Safety Functions: Should have interlocks to prevent ignition if the proper burner head, the nebulizer/end cap, or the burner drain system is not correctly installed; the liquid level in the drain vessel is incorrect; or gas pressures are too low. Interlocks should also automatically shut down burner gases if a flame is not detected, or if any of the other interlock functions are activated. Provision should include for safe shutdown from all operating modes in the event of a power failure. *Sample Introduction System: Modular sample introduction system should be consisting of the quick-change spray chamber, burner head and nebulizer units. Alignment of the flame in the light beam should be fully automatic, using a motorized burner mount for vertical and horizontal burner adjustment and automatic software-controlled self optimization of the burner position. The optimization of the operating flame condition should also fully automatic and software controlled. The introduction system should be equipped with a high-strength inert mixing chamber, angled to ensure proper drainage. There should be a choice of high sensitivity corrosion-resistant plastic nebulizer or durable stainless steel nebulizer. The standard should be all-titanium, 10-cm, single-slot burner head for air-acetylene operation. System Software: *Fully computer controlled operational software under the Microsoft Windows XP and Windows 7operating environment Miscellaneous: *A blower/vent assembly must be included. *The gas regulators must be included. Lamps & Standards: Silver Ag, Cadmium Cd, Iron Fe, Manganese Mn, Potassium K, Sodium Na, Calcium Ca, Chromium Cr, Cobalt CO, Copper Cu, Magnesium Mg, *Computer :- P IV Computer *Printer :- HP LaserJet Printer 1102 or equivalent *UPS supported the complete system. Make: USA / Japan / UK |  |  |  |
| 28 | Misc. Items | Pipette Stand Viscometer Moving speed instrument for TLC Digital thermometer |  |  |  |
| Pharmaceutical Microbiology Lab |  |  |
| 01 | Digital Autoclave | Specification Should be: Capacity: 45 liters Heater: 3kW Temp. Range: ambient 05C to 124C Temp. Accuracy: + 5C at 121C Display: PV & SV Dual Digital Controller Timer: Microprocessor PID Multi-Function Controller Pressure: 1.2 kg/cm2 Gauge: 0 – 3 kg/cm2 Material Cabinet: Powder Coated Steel Door Packing: One Touch Pressure Handle type Safety over Temp. Pressure and over Current Protector Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 02 | Cooled Incubator | Specification Should be: Capacity: 250 liters Temperature: 0C to 60C Load Per Rack: 15kg 2 for standard configuration Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 03 | Hot Incubator | Specification Should be: Deliver a degree of temperature uniformity regulated by a dependable micro-computer intelligent control & PID program. It maintains a maximum of 65°C, displayed on a large digital screen. It has a high-quality cold rolling steel electrostatic sprayed exterior, adjustable shelves & a sealed door. Capacity: 50, 125 & 300 liters Temp. Range: RT+5-70°C Temp. Fluctuation: ±0.5°C Ambient Temp.: 5-40°C Time Range: 1-9999min Temp. Display Resolution: 0.1°C Load Per Rack: 15kg 2 for standard configuration Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 04 | Laminar Flow Cabinet Horizontal | Specifications should be: Internal Dimension: 820×480×600 mm Overall Dimension: 900×700×1450 mm HEPA Filter: 1 Air Cleanliness: Class 100 @≥0.3 μm Average Flow Velocity: 0.3-0.6 m/s Fluorescent Lamp: 20 W UV Lamp: 20 W Light intensity: ≥320 Lx HEPA Dimension: 820×600×50 mm Power Supply: 220V/50HZ Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 05 | Laminar Flow Cabinet Vertical | Specifications should be: Internal Dimension: 870×700×520 mm Overall Dimension: 990×700×1650 mm HEPA Filter:1 Air Cleanliness: Class 100 @≥0.5 μm Average Flow Velocity: 0.3-0.6 m/s Fluorescent Lamp: 20 W UV Lamp: 20 W Light intensity: ≥300 Lx Noise Level: ≤62 dB(A) HEPA Dimension: 820×600×150 mm Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 06 | Oven | Specifications should be: PID controller technology, providing automatic compensation after load changes or door opening. Here a temperature of up to 200°C can be controlled & monitored on a LED digital display. It is designed with a stainless steel interior, double wall construction, fiberglass insulation, adjustable shelves & silicone rubber door with a window. Technical Specification: Capacity: 30, 150 & 300 liters Temp. Range: RT+5 to 200°C Timer Range: 0-999 min Shelves: 2, adjustable Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 02 |  |  |
| 07 | Compound Microscope | Specification Should be: Optical and mechanical qualities place at the top of that sought-after Category of appliances and the quality ratio is exceptionally good. Head: Binocular Objectives: 0.7 …. 4.5x Zoom Working Distance: 100 mm Illumination: Incident and transmitted light, 12V / 10W halogen Make: Spain/UK/USA/Germany/Finland or Equivalent | 17 |  |  |
| 08 | Digital Orbital Shaker | Specifications should be: Speed Range: 30 to 300 RPM Orbit Dia: 16 mm Maximum Load: 03 KG Operational temperature range: +4 to 40C Overall dia (mm): 240W x 300D x 140H Net Weight: 05 KG Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 09 | Deep Freezer (-35C) | Specification Should be: <> Complete sealing & closure mechanism for ultra low temp <> Non-CFC/ HCFC Refrigeration System <> Heavy-duty and user friendly designed chamber structure <> Auto voltage regulation & energy saving electric circuit <> Optional LN2 & CO2 back up system <> Controler, Software, Alarm & Casecade Ref. System Capacity: 369 liters Inner Dia (W x D x H): 600 x 850 x 955 mm Outer Dia (W x D x H): 895 x 845 x 1660 mm Compressor: 3/ 4HP Controller: Microprocessor Digital PID Controller with Battery back up system Temperature: -10C to -35C Exterior Material: Epoxy powder coated EGI steel Interior Material: Stainless Steel 304 Safety: High/ Low Temp., Protector, ELCB, Thermal Protector Electric Supply: 220/ 230V, 50/60Hz Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 10 | Magnetic Stirrer/ Hot Plate | Specification Should be: Power (W): 500 Max. Plate Temp. C>450 Temp. Control C: + 5C Stirrer Speed (rpm): 0 - 2000 Plate Dimension (mm): 210 x 210 Heated Area (mm) : 150 x 150 Weight Kg: 4.2 Make: Spain/USA/Germany/ Korea or Equivalent | 02 |  |  |
| 11 | Micropipettes | Specification Should be: Range from 0.1-2.5 µl Range from 0.5-10 µl Range from 2-20 µl Range from 5-50 µl Range from 10-100 µl Range from 20-200 µl Range from 100-1000 µl Range from 1000-5000 µl Make: Spain/UK/USA/Germany/Finland or Equivalent | 02 |  |  |
| 12 | Water Bath | Specification Should be: <> Precision Digital PID Controller <> Seamless Stainless Steel <> Various Application <> Over Temperature Protection <> Protected Heater and sensor from unexpected damage Temp. Range: Ambient +5C to 99C Material Bath: Seamless Stainless Steel (SUS304) Material Case: Powder Coated Steel Capacity: 11 liters/ 22 liters Make: Spain/UK/USA/Germany/Finland or Equivalent | 02 |  |  |
| 13 | Digital Ultrasonic Bath | Specification Should be: <> Built - in Microprocessor controller <> Backlit LCD screen (500 series) <> Furnishing all information - ultrasonic power, set time, elapsed time, set temperature, current temp. <> Built - in drain valve unit <> Selectable use with ultrasonic strength controller Technical Specifications: Bath Capacity: 08 liters Temp. Range: 0 - 50(digital) Timer: 0-99min (digital) Electrical: AC110V or 220V, 50/60 Hz Make: UK/Germany/Korea or Equivalent | 02 |  |  |
| 14 | UV Lamp | Specifications should be: Dual Range 1 x 6Watt 365nm 1 x 6Watt 254nm Aperture Size 50x150mm Make: Spain/UK/USA/Germany/Korea or Equivalent | 03 |  |  |
| 15 | Colony Counter Digital / Manual | Specification Should be: Digital Display: 3 digit LED Count: 0 to 999 Dish Size: 50 to 90 mm Max. Plate number to average: 99 Dia (W x D x H): 310 x 300 x 140 mm Net Weight: 1.5 Kg Electricity supply: 230V, 50 Hz, 22W Make: Spain/UK/USA/Germany/Korea or Equivalent | 08 |  |  |
| 16 | Spectronic 20-D | Specification Should be: Digital microprocessor control range: 330 - 1000 nm Bandwidth: 6nm Display: 3.5 LCD Zero & Blank set: Automatic Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 17 | Stabilizer for equipment with moveable trolly | Specifications should be: Capacity: 10KVA, 20KVA & 50 KVA Min voltage: 100V Max. Voltage 220V With good quality and latest features. Local made | 01 |  |  |
| 18 | pH Meter (Bench top) Digital | Specifications should be: pH Range: -2.00 to 16.00 pH Resolution: 0.01 pH Accuracy: + 0.02 pH MV Range: + 1999mV Resolution: 1 mV Accuracy: + 1mV Input impedance: > 1012 ohms Temperature Range: -10 to 105 C Resolution: 0.1 C Accuracy: + 0.5 C ATC Range: -10 to 105 C Manual TC Range: -10 to 105 C Calibration: Manual Display: 3 1/2 digits LCD Power: Battery 9V PP3 or Optional Power Supply Make: Spain/UK/USA/Germany/Korea or Equivalent | 02 |  |  |
| 19 | Vortex Mixer | Specification Should be: Speed: 3000 rpm Type: Test Tube Overall Dimension: 135x185x180 mm Power Supply: 110/220±20 50/60Hz Speed Range: Fixed 2500 rpm Orbit Diameter: 4 mm Speed Adjustment: Not applicable Make: Spain/UK/USA/Germany/Korea or Equivalent | 04 |  |  |
| 20 | Refrigerated Shaking Incubator | Specification Should be: <> Temp Range: 10°C To 60°C <> Independent Controls For Temperature, Timer, And Shaker <> Speed: 30-400 Rpm, +/- 4 Rpm (1 Rpm Increments) <> Stainless Steel Interior <> Double Paned Glass Viewing Window <> Controller: Microprocessor PID Multi-Function controller <> Display: LED 4 Digits Display. <> Material Inner: Stainless Steel (SUS 304) <> Material Outer: Powder Coated Steel <> Circulation: Forced Convection Air Circulation. <> Safety: over Temp. Cut-Off/ over current breaker <> Timer: 99 hr 50 min/ continuous <> Capacity: 144 liters Make: Spain/USA/Germany/ Korea or Equivalent | 03 |  |  |
| 21 | Microwave Oven | Specifications should be: Capacity: 35 liters With good quality and latest features. Dawlance or Equal | 01 |  |  |
| 22 | Pharmaceutical Refrigerator | Specification Should be: Volume: 580 liters External Panel: Sprayed steel sheet Internal Panel: Sprayed steel sheet No’s of Rack: 06 Cooling: Air circulation Compressor: Sealed Defrosting: Automatic Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 23 | Misc. Items | Hemocytometer Pipette Stand |  |  |  |
| Pharmacognosy Lab |  |  |
| 01 | Compound Microscope | Specification Should be: Optical and mechanical qualities place at the top of that sought-after Category of appliances and the quality ratio is exceptionally good. Head: Binocular Objectives: 0.7 …. 4.5x Zoom Working Distance: 100 mm Illumination: Incident and transmitted light, 12V / 10W halogen Make: Spain/UK/USA/Germany/Finland or Equivalent | 08 |  |  |
| 02 | Analytical Balance | Specification Should be: Anti-vibration Doors open wide in three directions. Level adjustment with ease Piece counting function is standard Ready for specific gravity measurements. Unit conversion Meets demands of jewelry and gold weighing Capacity: 220 gm Minimum Display: 0.0001 gm (0.1 mg) Pan Size approx. : 80 mm Make: Spain/USA/Germany/ Japan or Equivalent | 01 |  |  |
| 03 | Stabilizer for equipment with moveable trolly | Specifications should be: Capacity: 10KVA, 20KVA & 50 KVA Min voltage: 100V Max. Voltage 220V With good quality and latest features. Local made | 01 |  |  |
| 04 | Electronic Balance | Specification Should be: Capacity: 4200 gm Minimum Display: 0.1 gm Repeatability: 0.1 gm Operating Ambient Temperature: 10 - 30 Temperature Coefficient Sensitivity (ppm/C): ±3 Power requirement: AC adaptor (DC12V, 1A) Make: Spain/UK/USA/Germany/Japan or Equivalent | 01 |  |  |
| 05 | Oven | Specifications should be: PID controller technology, providing automatic compensation after load changes or door opening. Here a temperature of up to 200°C can be controlled & monitored on a LED digital display. It is designed with a stainless steel interior, double wall construction, fiberglass insulation, adjustable shelves & silicone rubber door with a window. Technical Specification: Capacity: 30, 150 & 300 liters Temp. Range: RT+5 to 200°C Timer Range: 0-999 min Shelves: 2, adjustable Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 06 | Distillation Apparatus | Specification Should be: Built in constant level device Conductivity: 3 to 4 us/cm Output: 4 liter per hour Safety thermostat built into the heater assembly Boiler fitted with 3KW chromium plate heater Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 07 | Automatic Double Water Still | Specification Should be: <> Fully Automatic Double Operation System <> Sensing water level in boiling chamber to protect heater from over heating <> Sensing water supply to control distillation process | 01 |  |  |
| 08 | Electric Grinder | Good quality with latest specifications. | 01 |  |  |
| 09 | High Temperature Furnace | Specifications should be: Internal Dimension: 150x150x150 mm Max. Temp.: 1700°C Working Temp.: 1600°C Thermal Rate: 1-20°C/min Temp. Accuracy: ±0.5°C Temp. Uniformity: ±1°C Power Supply: 240V 50Hz Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 10 | Water Bath | Specification Should be: <> Precision Digital PID Controller <> Seamless Stainless Steel <> Various Application <> Over Temperature Protection <> Protected Heater and sensor from unexpected damage Temp. Range: Ambient +5C to 99C Material Bath: Seamless Stainless Steel (SUS304) Material Case: Powder Coated Steel Capacity: 11 liters/ 22 liters Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 11 | Cooled Incubator | Specification Should be: Capacity: 250 liters Temperature: 0C to 60C Load Per Rack: 15kg 2 for standard configuration Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 12 | Incubator | Specification Should be: Deliver a degree of temperature uniformity regulated by a dependable micro-computer intelligent control & PID program. It maintains a maximum of 65°C, displayed on a large digital screen. It has a high-quality cold rolling steel electrostatic sprayed exterior, adjustable shelves & a sealed door. Capacity: 50, 125 & 300 liters Temp. Range: RT+5-70°C Temp. Fluctuation: ±0.5°C Ambient Temp.: 5-40°C Time Range: 1-9999min Temp. Display Resolution: 0.1°C Load Per Rack: 15kg 2 for standard configuration Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 13 | Rotary Evaporator | Specification Should be: <> Supplied with Pyrex Glass Diagonal Coil Condenser & 1Litre Evaporating and Receiving Flasks <> Lightweight Counterbalanced Lift Mechanism <> Long Life Sparkless Induction Motor <> Speed Range 20-190RPM <> PTFE/Glass Liquid Pathway for Chemical Inertness <> Long Life Graphite Impregnated PTFE Vacuum Seal <> Flask and Vapour Tube Ejection System <> Continuous Feed System for Use with Large Volumes Evaporator Water Bath <> Corrosion Resistant Stainless Steel 3.5Litre Bowl <> Thermostatic Controller Maintains Set Temperature <> Analogue Temperature Setting <> Indicator Light Shows when Set Temperature is reached <> Temperature Range Ambient-95DegC <> Cool Touch Outer Case <> Integral Boil-Dry Protection Rotary Evaporator Vacuum Pump <> Quiet Vibration Free Operation. <> Long Life PTFE Diaphragm. <> Vacuum 12mbar. <> Flow Rate 21/liter/minute <> Vacuum Regulator with Easy Adjustment. <> Integral Catch Pots. <> Vacuum: 9mbar <> Flow Rate: 18 l/min Recalculating Cooler./ Chiller Cooling Capacity: 450W to 10oC Temperature Range: -20 to +20 oC Control Accuracy: ¬+2 oC Bath Capacity: 03 lit Pump Rate: 10 lit / min Dimensions(w x d x h): 354 x 384 x 851mm Net weight: 25 kg Electrical Supply: 230V, 50Hz Make: UK/Germany/Spain/ Korea or Equivalent | 01 |  |  |
| 14 | UV Lamp | Specifications should be: Dual Range 1 x 6Watt 365nm 1 x 6Watt 254nm Aperture Size 50x150mm Make: Spain/UK/USA/Germany/Korea or Equivalent | 02 |  |  |
| 15 | Centrifuge Machine | Specification Should be: Speed Range upto 14800 RPM Max. Capacity: 24 x 2.2 ml Angle Rotor 24 x 1.5/2.5 ml Reaction Vials E.G. No. 15008, 15040 Incl. Polysulfone Lid No. 17882 Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 16 | Fume Hood | Specification Should be: Durable, Hazardous Chemical Gas Remove. Wide Variety of Material for User Selection. Slide Type Sash Door with Tempered Safety Glass. Powerful Siroco Fan Blower. Built in Utility Device. Dimensions (W x D x H): 1200 x 750 x 2250 mm Air Volume: 1296 CMH Blower (Sirroco Fan): 1 / 4 HP Material Inner: Stainless Steel Material Outer: Powder Coated Steel and Stainless Steel Frame Material Work top: Synthetic Ceramic Plate Utility Device: Air Cock, Gas Cock, Water Cock, Cup Sink Drain Explosion Proof Lamp, Power Consent 110 & 220V Duct: Diameter 200 mm Make: Spain/USA/Germany/Korea or Equivalent | 02 |  |  |
| 17 | pH Meter (Bench top) | Specifications should be: pH Range: -2.00 to 16.00 pH Resolution: 0.01 pH Accuracy: + 0.02 pH MV Range: + 1999mV Resolution: 1 mV Accuracy: + 1mV Input impedance: > 1012 ohms Temperature Range: -10 to 105 C Resolution: 0.1 C Accuracy: + 0.5 C ATC Range: -10 to 105 C Manual TC Range: -10 to 105 C Calibration: Manual Display: 3 1/2 digits LCD Power: Battery 9V PP3 or Optional Power Supply Make: Spain/UK/USA/Germany/Korea or Equivalent | 03 |  |  |
| 18 | Magnetic Stirrer/ Hot Plate | Specification Should be: Power (W): 500 Max. Plate Temp. C>450 Temp. Control C: + 5C Stirrer Speed (rpm): 0 - 2000 Plate Dimension (mm): 210 x 210 Heated Area (mm) : 150 x 150 Weight Kg: 4.2 Make: Spain/USA/Germany/ Korea or Equivalent | 05 |  |  |
| 19 | Electric heating gun | Specification Should be: 1500 Watt Dual Temperature Heat 96289Make: Spain/USA/Germany/ Korea or Equivalent | 02 |  |  |
| 20 | Digital Ultrasonic Bath | Specification Should be: <> Built - in Microprocessor controller <> Backlit LCD screen (500 series) <> Furnishing all information - ultrasonic power, set time, elapsed time, set temperature, current temp. <> Built - in drain valve unit <> Selectable use with ultrasonic strength controller Technical Specifications: Bath Capacity: 08 liters Temp. Range: 0 - 50(digital) Timer: 0-99min (digital) Electrical: AC110V or 220V, 50/60 Hz Make: UK/Germany/Korea or Equivalent | 01 |  |  |
| 21 | Vortex Mixer | Specification Should be: Speed: 3000 rpm Type: Test Tube Overall Dimension: 135x185x180 mm Power Supply: 110/220±20 50/60Hz Speed Range: Fixed 2500 rpm Orbit Diameter: 4 mm Speed Adjustment: Not applicable Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| Industrial Pharmacy Lab |  |  |
| 01 | Ribbon Mixer | Specification Should be: Capacity: 10 – 15 KG Electric Supply: 220 V, SS Made from Complete Stainless Steel | 01 |  |  |
| 02 | SS POTS | Specification Should be: various size (2,3,5,10 liters) Made from Complete Stainless Steel | 01 |  |  |
| 03 | Magnetic Stirrer/ Hot Plate | Specification Should be: Power (W): 500 Max. Plate Temp. C>450 Temp. Control C: + 5C Stirrer Speed (rpm): 0 - 2000 Plate Dimension (mm): 210 x 210 Heated Area (mm) : 150 x 150 Weight Kg: 4.2 Make: Spain/USA/Germany/ Korea or Equivalent | 02 |  |  |
| 04 | Friability Tester | Specifications should be: *Speed range: 20 - 100 +/- 1rpm *Test run timer: Infinitely adjustable up to 9 h., 59 min., 59 sec. +/-0,1 *Instrument Operation: Touch foil keypad *Revolution counter: Infinitely adjustable up to 9999 *Friability drums left or right (with opening for automatic emptying) Make: UK/Germany/USA | 01 |  |  |
| 05 | Tablet Dissolution Tester | Specifications should be: *Dissolution tester for USP methods 1 (basket), 2 (paddle), 5 (paddle- over- disk) and 6 (rotating cylinder) with 6, 7 or 8 test stations. *100% USP/EP/JP compliant. *Fulfills all specifications in accordance with FDA “Mechanical Calibration”. *LE display for each test parameter with up/down buttons. *Evaporation less than 1% (50 rpm / 1000 ml / 37 °C / 24 h). *Lifter column with gas strut support for effortless lifting and lowering of the drive head. *Automatic vessel centring via centring rings. *External high-power heater, heating range: 30 - 40 °C, even distribution of temperature. *Wobble less than 0.2 mm (paddles). *Standard manual tablet drop magazine for 8 samples. *Height adjustment feet for quick leveling. *RS 232 interface for PC connection, USB-B interface for firmware updates. Options should be: *External PT 100 temperature sensor for water bath or media temperature display. *Automatic tablet drop with control of temperature tolerance (USP) *Vessels 1000 ml, 2000 ml, glass or amber glass (UV protected), 250 ml mini glass vessels *Paddles, baskets, discs for paddle-over-disc, rotating cylinders, enhancer cell, intrinsic dissolution, felodipine baskets, suppository baskets, extraction cell *Upgrade to work as online dissolution system Make: UK/Germany/USA | 01 |  |  |
| 06 | Tablet Hardness Tester | Specifications should be: *Measurement Range: Hardness 3 - 500 N (±1 N) (extended* 3 - 1000 N (±1 N) *Diameter/Length* 2 - 28 mm (±0.05 mm) (extended 2 - 70 mm (±0.05 mm) *Thickness* 0.10 - 12 mm (±0.05 mm) *Measurement Principles: Constant Speed 0.05 - 3.00 mm/sec Constant Force 10 - 200 N/sec *AutoCal 2.0 System, automated tool for calibrating the hardness tester without weights * RS 232 interface for standard data export Make: UK/Germany/USA | 01 |  |  |
| Basic Medical Sciences Lab |  |  |
| 01 | Tissue organ bath | Specifications should be: Tissue Organ Bath System - 751mT (mini-TOBS) Make: UK/Germany/USA/ Local | 01 |  |  |
| 02 | Kymograph | Specification Should be: Complete with standard accessories, Built with Stimulators with 8 variable speeds (0.1, ----640mm/sec 220 V, AC 50 Hz Make: Spain/USA/Germany/ Korea/ Local or Equivalent | 01 |  |  |
| 03 | Triple beam balance | Good quality with latest specifications. | 01 |  |  |
| 04 | Analytical Balance (Digital) | Specification Should be: Anti-vibration Doors open wide in three directions. Level adjustment with ease Piece counting function is standard Ready for specific gravity measurements. Unit conversion Meets demands of jewelry and gold weighing Capacity: 220 gm Minimum Display: 0.0001 gm (0.1 mg) Pan Size approx. : 80 mm Make: Spain/USA/Germany/ Japan or Equivalent | 01 |  |  |
| 05 | Stabilizer for equipment with moveable trolly | Specifications should be: Capacity: 10KVA, 20KVA & 50 KVA Min voltage: 100V Max. Voltage 220V With good quality and latest features. Local made | 01 |  |  |
| 06 | Binocular Stereo Microscope | Specification Should be: Optical and mechanical qualities place at the top of that sought-after Category of appliances and the quality ratio is exceptionally good. Head: Binocular Objectives: 0.7 …. 4.5x Zoom Working Distance: 100 mm Stand: Pillar Stand Illumination: Incident and transmitted light, 12V / 10W halogen Make: Spain/UK/USA/Germany/Finland or Equivalent | 11 |  |  |
| 07 | Oven | Specifications should be: PID controller technology, providing automatic compensation after load changes or door opening. Here a temperature of up to 200°C can be controlled & monitored on a LED digital display. It is designed with a stainless steel interior, double wall construction, fiberglass insulation, adjustable shelves & silicone rubber door with a window. Technical Specification: Capacity: 30, 150 & 300 liters Temp. Range: RT+5 to 200°C Timer Range: 0-999 min Shelves: 2, adjustable Power Supply: 220V 50Hz Make: Spain/UK/USA/Germany/Finland or Equivalent | 01 |  |  |
| 08 | Distillation Apparatus | Specification Should be: Built in constant level device Conductivity: 3 to 4 us/cm Output: 4 liter per hour Safety thermostat built into the heater assembly Boiler fitted with 3KW chromium plate heater Make: Spain/USA/Germany/ Korea or Equivalent | 01 |  |  |
| 09 | Automatic Double Water Still | Specification Should be: <> Fully Automatic Double Operation System <> Sensing water level in boiling chamber to protect heater from over heating <> Sensing water supply to control distillation process | 01 |  |  |
| 10 | Laminar Flow Cabinet Vertical | Specifications should be: Internal Dimension: 870×700×520 mm Overall Dimension: 990×700×1650 mm HEPA Filter:1 Air Cleanliness: Class 100 @≥0.5 μm Average Flow Velocity: 0.3-0.6 m/s Fluorescent Lamp: 20 W UV Lamp: 20 W Light intensity: ≥300 Lx Noise Level: ≤62 dB(A) HEPA Dimension: 820×600×150 mm Make: Spain/UK/USA/Germany/Korea or Equivalent | 01 |  |  |
| 11 | Refrigerator | Specification Should be: Volume: 580 liters External Panel: Sprayed steel sheet Internal Panel: Sprayed steel sheet Insulation: Styrene polyurethane foam (Freon-free) No’s of Rack: 06 Cooling: Air circulation Compressor: Sealed Defrosting: Automatic Thermostat: Electronic control system Make: Spain/USA/Germany/Korea or Equivalent | 01 |  |  |
| 12 | Misc. Items | Barometer Spiro meter plastic body Perimeter With Object Anatomic Models Pathological slides of various pathological conditions Histometer techno Analgesiometer |  |  |  |

| Part B Required Items of Department of Forestry |
| --- |
| Item Name | Quantity | Specifications | Per Unit Price | Total |
| Dia Meter Tape | 12 | Forestry Supplier English Steel Dia meter tape, Model 343D or Equalant |  |  |
| Abnys Level | 12 | Sokkia t opagrphic Abney,s level 8047-45 Singapore or Equalant |  |  |
| Spegal Releascope | 4 | Dr.W Bitterlich,pat:Nr.172305, Fob Made in Austria or Equalant |  |  |
| Colour G.P.S | 10 | Garmin Montana Series 650t, pre loaded 100k topo mapping,5 MP aotufocus camera. Schaff hausen, Switzerland. or Equalant |  |  |
| Hega Altimeter | 12 | Hega Metellearenfa brik, Hohenmesser/ Hege Company, Further Strap 174, 90429, Nuremberg, Germany or Equalant |  |  |
| Saunto Clinomaters | 12 | latest Wi-Fi devices OR D-Link DIR-615 Wireless 300 Mbps or Equalant |  |  |
| Caliper | 12 | Haglof Sweeden, Mantax Blak with foldable jaws,36". 11-200-1011 or Equalant |  |  |
| Angle Gauge | 12 | Panama angle gauge ,paname pump company , Hattiesburg,MS(MississippiI) or Equalant |  |  |
| Blume Leiss Hyso pometer | 12 | Blume Leiss model BL6 Altimeter, with biult built in range findr and target ,carl leiss ,Gmbh,Berlin Germeny or Equilant |  |  |
| Presslorer Borer | 12 | Haglof Sweden , Increment borer , 800-900mm length,5.15mm core diameter,3-threaded borer or Equalant |  |  |
| Digital Position Meter | 12 | Usage mode 0.1 mm/0.001 inch sensititivity, manufacturing trading company Turkey or Equalant |  |  |
| Theodlite with all Accessories | 2 | Sokkia Dt 940L Digital Theodolites(Laser Model), Topcon Corporation,Itabashi-KU,TKY,Japan or Equalant |  |  |
| Tants and Camping equipments | 1 | A2(2)=02, A8(8)=04, A6(6)=06 Mess tant=01, Sleeping bags = as per tents capacity (Note Tents must be water and air proof) or Equalant |  |  |
| Hygro Meter | 6 | Control Company 6404/ traceable SD memory card Hygrometer or Equalant |  |  |
| Total Stations SoKKIA 630 RK 6SEC | 1 | Sokkia Set 05N, Sokkia Singapore, Topcon Corporation ,Itabashi-KU,TKY,Japan or Equalant |  |  |

| PART-C FURNITURE From PC-1 A/C |
| --- |
| ITEMS NAME | SPECIFICATIONS | Quantity | Per Unit Price | Total |
| Judge Counter | Judge Counter (6x4x2.5') with reader & computer operator tables (4x4x2.5') each & for judge 2 side racks of 3x2x2.5' each made of shesham vim board/Lamination complete in all respects. | 1 |  |  |
| Accused Questioning and answering area/accused box | made of complete shesham wood size 4 x 4ft x 3 ft height with 3 sides covered & one side open for entrance to be fixed with judge counter. | 1 |  |  |
| Witness Questioning and answering area/witness box | made of complete shesham wood size 4 x 4ft x 3 ft height with 3 sides covered & one side open for entrance to be fixed with judge counter. | 1 |  |  |
| Judge room/retiring room | includes 1 revolving chair + 1 table size 5x3x2.5 ft + 1 rack 3x2x2.5 ft + 5 seater sofa set + 1 centre table 4x2x1.5 ft + 1 single bed wooden with foam 4" thick warranted +pillow+bed sheet+blancket | 1 |  |  |
| Bench row for lawyers | 02 bench for hearing in waiting size 4x1.5x1.5 ft made of shesham wood strips & steel pipe 1" square structure 18 gauge | 2 |  |  |
| Hearing benches | 02 bench for hearing in waiting size 4x1.5x1.5 ft made of shesham wood strips & steel pipe 1" square structure 18 gauge | 12 |  |  |

| PART D EQUIPMENTS PC-1 A/C |
| --- |
| ITEMS NAME | SPECIFICATIONS | Quantity | Per Unit Price | Total |
| Fax Machine | ADF capacity： Up to 30 sheets One-touchkey： 16 x 2 keys High speed Scanning: Approx 4sec Large FAX Memory： Approx 4MB High speed Print： 24ppm Paper cassette： 250sheets/A (should have scanning, printing & copying facility) | 1 |  |  |
| Software | Window 8, Window 7, Microsoft Office 2013, Adobe Reader 11, Anti-Virus (MacAfee), Window Server (Latest).(Price of Each software should be mentioned separately) | 1 |  |  |
| Over Head Projector | 1000 to 4000 lumens or higher 6000 hours lamp life. Price should be mentioned separately | 4 |  |  |
| USB | 16-32 GB (prices should be for each range) | 6 |  |  |
| UPS 20 KVA with Batries | rates should be separately mentioned for batteries & UPS with brand name etc detail | 2 |  |  |
| UPS 1 KVA with batteries | rates should be separately mentioned for batteries & UPS with brand name etc detail | 4 |  |  |
| UPS 10 KVA with batteries | rates should be separately mentioned for batteries & UPS with brand name etc detail | 1 |  |  |
| High End Scanner | HP/Cannon or equivalent having minimum 20Pages per minutes scanning capacity | 2 |  |  |

# Text boxes

TENDER DOCUMENT